## Measure Samples
Collection of Sample Data
Step
1 | Create a sample using existing sample preparation methods
2 | Measure this sample on both the existing Instrument and on the Aeros. Enter the values for Lab in the columns below.
3 | Repeat for a total of 5 samples
4 | Follow directions on Hitch Tab
|  | Existing Instrument |  |  |  | Aeros
|  | L | a | b | L | a | b
Sample 1
Sample 2
Sample 3
Sample 4
Sample 5
| Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Hitch
Make sure you have completed sample measurements in the "Measure Sample" Tab
Step:
1 | Touch Workspace then select Default
2 | Touch Gear
3 | Touch New Workspace
Select Yes button to close current job
Select Yes to Save Current Job
4 | Enter Name of the new Product
Select the Save Button
Select the Save Button
5 | Touch the "GEAR" Icon
6 | Touch Standard and Tolerances
7 | Select Numeric Standard Type
8 | Enter the new Product Name
From "Measure Samples" Tab
| Values you Measured from Sample | L | a | b
9 | Enter Average from Aeros | #DIV/0! | #DIV/0! | #DIV/0!
7 | Select the Hitch Button
|  | L | a | b
8 | Enter Average from Existing Instrument | #DIV/0! | #DIV/0! | #DIV/0!
9 | Click Apply Hitch and then click OK
Select Done after entering the Target values
10 | Click Save to Database and Click OK. Then Click Apply button.
You should see this screen once you have completed the steps above
To make sure it is working correctly, re-measure the sample on Aeros. The values should closely match the Existing Instrument now, and the Standard shown in the Color Data Table should be your Existing Standard