## Table 1
Sample Accessory | Aeros | Agera | ColorFlex EZ 45/0 | MiniScan EZ 45/0 | ColorQuest XE d/8 | ColorQuest XT d/8 | Labscan 0/45 | UltraScan PRO d/8 | UltraScan VIS d/8
Carrying Case |  |  | D02-1010-619 | D02-1014-200
External Serial Printer 110V |  |  | A13-1014-259 | A13-1014-259 |  | L01-1010-678
External Serial Printer 220V | [5 empty] | L01-1010-679
Keyboard | A13-1014-294 |  | A13-1014-294 | A13-1014-294
Keyboard, Mouse & Cable | L02-1017-434 | L02-1017-434
Bar Code Scanner | A13-1018-566 |  | A13-1014-254 | A13-1014-254
USB Adapter | A21-1014-375 |  |  | A21-1013-859
USB Standard A to Micro A | A21-1016-453 | A21-1016-453
Flash Drive | A10-1013-423 | A10-1013-423
Foot Switch Assembly | D02-1018-775 | D02-1018-775 | D02-1010-327 |  | D02-1010-327 | D02-1010-327 | D02-1010-327 | D02-1010-327 | D02-1010-327
Sample Clamp/Port Forward Stand |  |  | D02-1010-459
Sample Clamp |  | D02-1018-462 |  |  |  |  | D02-1009-200
Sensor Port Down Stand |  | D02-1019-386 |  |  |  |  | D02-1009-350
Skein Holder |  | 02-7396-00 | 02-7396-00 | 02-7396-00 | 02-7396-00 |  | 02-7396-00 | 02-7396-00 | 02-7396-00
Glass Port Insert |  |  | 02-6624-05 |  | x |  |  | A02-1011-124
UV Port Insert - 1.25in |  |  | 02-1010-618
Port Insert for Capsules | [6 empty] | A02-1013-325
Sample Cup Set for Translucent Samples |  | AGERA-SC-ASSY | CFLX-SC-ASSY |  |  |  | LSXE-SC-ASSY
Sample Cup Port Plate |  | D02-1018-615 | 04-6622-00 |  |  |  | 02-1010-316
64mm Glass Sample Cup (2.5in) |  | 04-7209-00 | 04-7209-00 |  |  |  | 04-7209-00
Sample Cup Opaque Cover |  | 04-4000-00 | 04-4000-00 |  |  |  | 04-4000-00
Ring and Disk Set |  | 02-4579-00 | 02-4579-00 |  |  |  | 02-4579-00
Orange Juice Tube Holder |  |  | x
OJ4 Orange Juice Standard |  |  | x
Tomato Red Tile |  |  | x
Sample Holder Offset, 3.5" Dish | D02-1016-773
Sample Handling Pkg for Chips | L02-1014-741
Sample Holder for Petri Dishes | D04-1018-680
Sample Tray 6" Diameter x 1" Depth | D02-1016-971
Sample Tray 6" Diameter x 2" Depth | D02-1017-310
Sample Tray 8" Diameter x 2" Depth | D02-1017-311
Sample Tray 10" Diameter x 1" Depth | D02-1017-309
Sample Tray 12" Diameter x 1" Depth | D02-1017-490
Sample Tray 12" Diameter x 2" Depth | D01-1017-313
Sample Tray, Nested 12" & 6" x 1" Depth | D02-1017-314
Sample Tray, Nested 12" & 6" x 2" Depth | D02-1017-315
Variable Sample Illumination | [6 empty] | x
Transmittance Clamp |  |  |  |  | C02-1005-444 | C02-1005-444 |  | C02-1005-444 | C02-1005-444
Transmittance Cell Holder |  |  |  |  | C02-1005-481 | C02-1005-481 |  | C02-1005-481 | C02-1005-481
Transmittance Cells - 10mm |  |  |  |  | 13-8573-40 | 13-8573-40 |  | 13-8573-40 | 13-8573-40
Transmittance Cells - 20mm |  |  |  |  | 04-4592-00 | 04-4592-00 |  | 04-4592-00 | 04-4592-00
Transmittance Cells - 33mm |  |  |  |  | B04-1003-801 | B04-1003-801 |  | B04-1003-801 | B04-1003-801
Transmittance Cells - 50mm |  |  |  |  | 13-8573-20 | 13-8573-20 |  | 13-8573-20 | 13-8573-20
Transmittance Cells with 2 Screw Top-10mm |  |  |  |  | D12-1011-893 | D12-1011-893 |  | D12-1011-893 | D12-1011-893
Transmittance Cells with 2 Screw Top-20mm |  |  |  |  | D12-1011-890 | D12-1011-890 |  | D12-1011-890 | D12-1011-890
Transmittance Cells with 2 Screw Top-33mm |  |  |  |  | D12-1011-891 | D12-1011-891 |  | D12-1011-891 | D12-1011-891
Transmittance Cells with 2 Screw Top-50mm |  |  |  |  | D12-1011-892 | D12-1011-892 |  | D12-1011-892 | D12-1011-892
Transmittance Spill Tray |  |  |  |  | D02-1011-568 | D02-1011-568 |  | D02-1011-568 | D02-1011-568
Tall Transmittance Cells (set of 3) |  |  |  |  | B04-1002-672 | B04-1002-672 |  | B04-1002-672 | B04-1002-672
Flow-Through Transmittance Cell Holder |  |  |  |  | D02-1009-960 | D02-1009-960 |  | D02-1009-960 | D02-1009-960
Flow Through Transmittance Cell -10mm |  |  |  |  | C04-1001-958 | C04-1001-958 |  | C04-1001-958 | C04-1001-958
Flow Through Transmittance Cell -20mm |  |  |  |  | C04-1001-959 | C04-1001-959 |  | C04-1001-959 | C04-1001-959
Flow Through Transmittance Cell -50mm |  |  |  |  | C04-1001-960 | C04-1001-960 |  | C04-1001-960 | C04-1001-960
Holder for Small Volume Transmittance |  |  |  |  | D02-1011-886 | D02-1011-886 |  | D02-1011-886 | D02-1011-886
Small Volume Transmittance Cell |  |  |  |  | A13-1011-613 | A13-1011-613 |  | A13-1011-613 | A13-1011-613
Cylindrial Cell Holder |  |  |  |  | D02-1011-550 | D02-1011-550 |  | D02-1011-550 | D02-1011-550
Semi-Micro Cell Holder |  |  |  |  | L02-1012-202 | L02-1012-202 |  | L02-1012-202 | L02-1012-202
Semi-Micro Powder Holder |  |  |  |  | D02-1012-313 |  |  | D02-1012-931 | D02-1012-313
Transmittance Preform Holder |  |  |  |  | D02-1011-833 | D02-1011-833 |  | D02-1011-833 | D02-1011-833
Reflectance Preform Holder |  |  |  |  | D02-1011-841 |  |  | D02-1011-841 | D02-1011-841
Touch Screen |  |  |  |  | DISPLAY-CQXE
Compression Cell |  |  |  |  | 04-7209-00 |  | 04-7209-00 | 04-7209-00 | 04-7209-00
Compression Clamp Kit |  | AGERA-COMP |  |  | D02-1011-131 |  | LSXE-COMP | L02-1012-387 | D02-1011-131
Compression Clamp only |  |  |  |  | D02-1011-132 |  | 02-8909-00 | D02-1008-987 | D02-1011-132
Port Plate with Glass - 5/8in |  | D02-1019-104
Port Plate with Glass - 1in |  | D02-1019-102 |  |  | A01-2022-124 |  | A02-1010-319 | A01-2022-124 | A01-2022-124
Port Plate with Glass - 2in |  | D02-1019-010
Port Plate 4mm |  |  |  |  | A02-1011-184 |  |  | A02-1011-184 | A02-1011-184
Port Plate 2" |  | D02-1018-483
Port Plate 1" |  | D02-1018-548
Port Plate Adapter - 205mm Bobbin |  | D02-1019-118
Port Plate Adapter - 300mm Bobbin |  | D02-1019-151
Port Plate Adapter - 340mm Bobbin |  | D02-1019-150
Port Plate Adapter - 440mm Bobbin |  | D02-1019-117
Reflectance Sample Shelf with cover |  |  |  |  | B02-1005-172 |  |  | B02-1005-172 | B02-1005-172
Reflectance Sample Shelf |  |  |  |  | D02-1013-326 |  |  | D02-1013-326 | D02-1013-326
45/0 LAV Fiber Package Adapter |  |  |  | C02-1002-030
45/0 LAV Nose Cone w/Lower Glass Assy |  |  |  | A02-10002-129
45/0 LAV Nose Cone w/Polycarbonate Assy |  |  |  | B02-1009-500
UV Filter Assy 420nm |  |  |  | A02-1009-954
Fluorescent Standard, Calibrated |  | D02-1010-252
Green Diagnostic Tile |  | D02-1018-619
Gloss Check Tile |  | D02-1018-997