Sample Preparation and Presentation

# Ideal Sample for Color Measurement

- Opaque or transparent

- Solid

- Flat

- Smooth

- Uniform

# Sample Preparation

- Choose samples that are representative of the product.

- Prepare the sample in a way to best approximate ideal sample characteristics.

- Prepare the samples in the same way each time.

- Present the samples to the instrument in a repeatable manner.

- Take multiple readings of the sample for an average measurement.